Available online at [www.sciencedirect.com](http://www.sciencedirect.com/)



**ScienceDirect**

AASRI Procedia 7 (2014) 94 – 100

2013 2nd AASRI Conference on Power and Energy Systems

A Power Flow Tracing Based Method for Transmission Usage, Loss & Reliability Margin Allocation

Baseem Khan\*, Ganga

gnihotri, Gaurav Gupta, Pawan Rathore

*MANIT, Link road no.3, Bhopal 462003, India*

**Abstract**

Restructuring of Electricity supply industry in roduced many issues such as transmission pricing, transmission loss allocation and congestion management. Many methodologies and algorithms were proposed for addressing these issues. In this paper a graph theory based method is proposed which involves Matrices methodology for the transmission usage, loss and transmission reliability margin (TRM) allocation for generators and demands. This method provides loss and TRM allocation in a direct way because all the computation is previously done for usage allocation. The proposed method is simple and easy to implement in a large power system. Further it is less compu ational because it requires matrix inversion only a single time. A comparison between proposed method and already exiting methods also presents. Results are shown for the sample 6 bus system and IEEE 14 bus system.

© 2014 The Authors. Published by Elsevier B. V. This is an open access article under the CC BY-NC-ND license ([http://creativecommons.org/licenses/by-nc-nd/3.0/).](http://creativecommons.org/licenses/by-nc-nd/3.0/))

© 2013 Published by Elsevier B.V.

Selection and/or peer review under responsibility of American Applied Science Research Institute

Peer-review under responsibility of Scientific Committee of American Applied Science Research Institute

*Keywords:* Modified Kirchhoff Matrix; Power flow tracing;Transmission Pricing; Transmission Loss Allocation; Transmission Reliability Margin Allocation.

# Introduction

In many parts of the world electricity

supply industry undergoes transformation from

regulated to

deregulated structure. Many new issues such as transmission emb dded cost allocation, loss allocation;

congestion management etc. arises due to this transformation. As transmission sector is the backbone of power sector, the question of transmission pricing is great importance. The main aim of any transmission pricing methodology is to introduce a fair competition in the electricity sector and provide efficient economic signals.

Transmission pricing methods are the overall processes of translating transmission costs into overall

\* Corresponding author. Tel.: +91-9827754258;

*E-mail address:* [baseem\_khan04@yahoo.com](mailto:baseem_khan04@yahoo.com)

2212-6716 © 2014 The Authors. Published by Elsevier B. V. This is an open access article under the CC BY-NC-ND license ([http://creativecommons.org/licenses/by-nc-nd/3.0/).](http://creativecommons.org/licenses/by-nc-nd/3.0/))

Peer-review under responsibility of Scientific Committee of American Applied Science Research Institute doi:10.1016/j.aasri.2014.05.035

transmission charges. The main transmission pricing methodologies are embedded cost and incremental pricing methodology. Countries like Colombia, UK and Brazil, have used long run marginal cost (LRMC) methodology due to its easy implementation. On the other hand countries like Argentina, Chile and Panama adopting marginal participation method. Power flow tracing provide us a complete view of usage allocation problem which is very important for transmission cost allocation. When usage allocation is known it is straightforward to allocate the transmission cost to generators and loads. The first attempt to trace power flows was done by Bialek et al. when Topological Generation Distribution factors based Power flow tracing were proposed in March 1996 [2] which explained the method for tracing generator's output. They introduce a simple topological method of tracing the flow of real and reactive power in transmission networks. In Feb 1997, Kirschen et al. [3] explained a power flow tracing method based on the proportional sharing assumption which introduces the concept of domains, commons, and links. In Nov 2000, Gubina et al. [4] described the method to determine the generators’ contribution to a particular load by using the nodal generation distribution factors. In Aug 2000, Wu et al. [5] explained the use of graph theory to calculate the contributions of individual generators and loads to line flows and the real power transfer between individual generators and loads. In 2009 Xie et al.[6] proposed and explained the power flow tracing algorithms founded in the extended incidence matrix considering loop flows.

Similarly many different loss allocation schemes have been proposed for transmission loss allocation. The existing transmission loss allocation methods may be classified into prorata method, marginal methods, power flow tracing-based methods, and circuit theory based methods [1]. A usage based transmission loss allocation method is proposed in [7]. In [8] method based on circuit theory and the concept of orthogonal projection for pool based electricity market is proposed.

Due to deregulation, the number of interaction entitles on the electric grid increases dramatically. At the same time capacity margin reduced. Hence this rapid growth threatened reliability of transmission network greatly. That’s why transmission reliability margin allocation should be addressed in a fair way. Many researchers proposed methodology which incorporate reliability cost element in total transmission cost. For this first usage and TRM allocation is done. In [9] Silva et al. considered the transmission network operation under normal as well as contingency condition for allocation reliability cost to users. In [10-11] D. Hur et al. proposed various variants of procedures to allocate reliability contribution to market participants.

This paper presents a model of usage, loss and transmission reliability margin allocation based on the concept of the matrices methodology. In the proposed method modified Kirchhoff matrix is developed for usage allocation. After that loss allocation matrix is formed for transmission loss allocation to loads and generators. Further by incorporation (n-1) reliability criteria, maximum flow of transmission lines is calculated. After that the TRM of every transmission line is allocated to generators by using modified Kirchhoff matrix.

# Proposed Matrices Methodology

Let consider a simple diagraph G showed in Fig1.



Fig.1. Simple Diagraph G

Hence from the above example for a simple digraph *G* of *n* vertices, an *n* by *n* matrix called the Kirchhoff matrix or is defined as [1],

K(G) K=[Kij]

d–(Vi) for i = j

K = {

—Xij for i g j

Where, d (Vi) = in-degree of the ith vertex

–

-Xij = (i,j)th entry in the adjacency matrix

(1)

This matrix is the basis of the proposed methodology. Authors construct a power flow matrix from the Newton Raphson load flow. This matrix gives a complete overview of power flows in the system. It is formed between nodes of the system. Diagonal elements give net flows at nodes and off diagonal elements give the actual flows and counter flows in the system. The proposed matrix is defined as follows: active power in branch *i-j* from bus *1* to bus *J* as Pij(> O) nd total inflow at bus *1* as *PTi*

–Pij tor i ×j and Pji>O tij={ Pij tor i ×j and Pij>O

P PTi tor i=j (2)

Where *PTi=net flows on the nodes*

From the above matrix and using Eq. 1 the Modified Kirchhoff matrix is constructed as follows. Denoting Modified Kirchhoff matrix of a Power Network as, km = (km)n × n authors define the following

ij

expression for elements of the Modified Kirchhoff matrix:

—Pij for i g j and Pji > O

Km = { P

for i = j

(3)

ij Tj

O otherwiSe

Now from the above Modified Kirchhoff matrix, Kirchhoff loss matrix can be formed as follows:

P1 for i g j and Pji > Pji and Pji < O < Pij klij = {P1 for i g j and Pji > Pij and Pij < O < Pji

ij

ji

O otherwiSe

(4)

Where

P1= transmission loss in line i-j in actual direction

ij

P1= transmission loss in line i-j in counter direction

ij

# Procedure for Tracing Power Flow and Loss Allocation

In this paper authors adopt the tracing procedure which is proposed in [6]. But authors modified this tracing algorithm for transmission loss allocation.

* 1. *Model for Power Flow Tracing*

The procedure for power flow tracing is same as preaented in [6]. Power flow allocated to generators from the lines flow as shown in Eq. (5). It is assumed that a ag: a1 (23:77) split in the transmission usage occurs between generators and demand. For example the generator share situated as bus s to the line s-t is given by

Pi ↑s–t = tisPstag (5)

Hence eq. (5) gives the generators share in lines flows. Similarly, the usage allocated to a load for the use of all lines can be defined by using a1 instead of ag. For calculating the loads shares in line flows and generated power same procedure is followed.

PL=PLL(K–1)P (6)

m G

Where the diagonal matrix P

= diag (P , P , …., P ) and R= R=P

( –1 T is the extraction factor

LL L1 L2 Ld

LL Km )

matrix of loads from generators [6]. By using an extraction factor matrix, loads share in generating power and line flows is calculated.

* 1. *Model for Transmission Loss Allocation*

For transmission loss allocations to generator consider Eq. (5). In this equation line flows Pst is replaced by the transmission Loss in lines which is coming from the elements of the Kirchhoff loss matrix. Hence transmission losses of line s-t allocated to generator located at bus i is given by:

Pi = tisP (7)

i →s–t

Similarly transmission losses of line s-t allocated to load situated at bus j is given by:

Pi = rjsP (8)

j →s–t

From the equations (18) and (19) losses are allocated to generators and loads respectively. This method of loss allocation is said to be direct because all the calculation is already done for usage allocation.

* 1. *Model for TRM Allocation*

For transmission reliability margin allocation to generator and load, considered eq. 5, TRM = maximum capacity of the line in p.u. – usage of the line in p.u.

TRMij = 1- pfij

(9)

Where for a particular line the calculation of TRM has considered Maximum capacity of the all line is 1

p.u. In this equation line flows is replaced by the transmission reliability margins in lines which is coming from the elements of TRMij.

Hence transmission reliability margin of line s-b allocated to generator located at bus i is given by:

TRM1 = tistrm (10)

i–s→b

Similarly transmission reliability margin of line s-b allocated to load situated at bus j is given by:

TRM1 = ristrm (11)

i–s→b

# Result and Discussion

The proposed matrices methodology is applied to the sample 6 and IEEE 14 bus power system to demonstrate the feasibility and effectiveness of the methodology. A computer program coded in MATLAB is developed.

* 1. *Sample 6 Bus System*
     1. *Transmission Usage Allocation*

The sample 6 bus power system is used to illustrate the proposed methodology. The summation of powers extracted by the load buses from all the generators equals the total load demand similarly the addition of powers contributed by the generator buses to all the demands equals the total generation power. Table 1 gives the generators contributions to losses and line flows.Total system losses occurred in the system is 0.084697 pu from which 23% is allocated to generators and 77% is allocated to demands.

Table.1 Transmission Usage Allocation to Loads & Generators

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Line | Flow(pu) | Loss(pu) | Usage Allocated | Usage Allocated | Usage Allocated | Loss Allocated | Loss Allocated | Loss Allocated |
|  |  |  | G1 | G2 | G3 | G1 | G2 | G3 |
| 1-2 | 0.29 | 0.0094 | 0.29 | 0.00 | 0.00 | 0.0022 | 0.0000 | 0.0000 |
| 1-4 | 0.44 | 0.0113 | 0.44 | 0.00 | 0.00 | 0.0026 | 0.0000 | 0.0000 |
| 1-5 | 0.36 | 0.0112 | 0.36 | 0.00 | 0.00 | 0.0026 | 0.0000 | 0.0000 |
| 2-3 | 0.03 | 0.0004 | 0.01 | 0.02 | 0.00 | 0.0000 | 0.0001 | 0.0000 |
| 2-4 | 0.33 | 0.0164 | 0.12 | 0.21 | 0.00 | 0.0014 | 0.0024 | 0.0000 |
| 2-5 | 0.16 | 0.0056 | 0.06 | 0.10 | 0.00 | 0.0005 | 0.0008 | 0.0000 |
| 2-6 | 0.26 | 0.0062 | 0.10 | 0.17 | 0.00 | 0.0005 | 0.0009 | 0.0000 |
| 3-5 | 0.19 | 0.0123 | 0.00 | 0.01 | 0.18 | 0.0001 | 0.0001 | 0.0027 |
| 3-6 | 0.44 | 0.0108 | 0.01 | 0.01 | 0.42 | 0.0000 | 0.0001 | 0.0024 |
| 4-5 | 0.04 | 0.0004 | 0.03 | 0.01 | 0.00 | 0.0001 | 0.0000 | 0.0000 |
| 5-6 | 0.02 | 0.0006 | 0.01 | 0.00 | 0.00 | 0.0001 | 0.0000 | 0.0000 |

* + 1. *Transmission Reliability Margin Allocation*

From the equations (10) and (11) TRM are allocated to generators and loads respectively. From the table 2 it is observed that the generators which contribute more power to line flows, have more TRM allocated. Also table 3 provides a comparison between TRM allocated by proposed method and method presented in [11].

Table 2.Transmission Reliability Margin Allocation

**TRM Allocation By Proposed Method TRM Allocation By [22]**

**Method**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Line** | **G1(pu)** | **G2 (pu)** | **G3(pu)** | **G1(pu)** | **G2 (pu)** | **G3(pu)** |
| 1 | 1 | 0 | 0 | 0.934546 | 0.003 | 0.062017 |
| 2 | 1 | 0 | 0 | 0.737646 | 0.221 | 0.041229 |
| 3 | 1 | 0 | 0 | 0.78099 | 0.138 | 0.080909 |
| 4 | 0.36632 | 0.63368 | 0 | 0.323005 | 0.289 | 0.078781 |
| 5 | 0.36634 | 0.63366 | 0 | 0.800014 | 0.118 | 0.082555 |
| 6 | 0.36602 | 0.63398 | 0 | 0.545261 | 0.300 | 0.154956 |
| 7 | 0.36633 | 0.63367 | 0 | 0.273916 | 0.171 | 0.555305 |
| 8 | 0.02 | 0.03 | 0.95 | 0.337897 | 0.194 | 0.468735 |
| 9 | 0.02 | 0.03 | 0.95 | 0.253548 | 0.384 | 0.362786 |
| 10 | 0.72381 | 0.27619 | 0 | 0.572841 | 0.285 | 0.141905 |
| 11 | 0.6 | 0.15238 | 0.24762 | 0.301848 | 0.183 | 0.515473 |

Total 5.82881 3.02357 2.14762 5.861511 2.286 2.544651

* 1. *IEEE 14 Bus System*
     1. *Transmission Usage Allocation*

The proposed method is also applied on IEEE 14 bus system [12]. Authors assume that cost of the line is proportional to the length of the line. After this the share of each generator (load) in load (generator) and line flows is calculated. Fig 2 gives generators shares to various line flows respectively. Y axis shows the usage allocation in MW and x axis provide no of lines.




Fig 2: Generators shares to Line flows

* + 1. *Transmission Loss Allocation*

Fig 3 presents the transmission loss allocation between generators respectively. Total system losses occur in IEEE 14 Bus system is 15.87016 MW. 23% of total losses i.e. 3.70114478 MW is allocated to generators and 77% i.e. 12.16902 is allocated to loads.




Fig 3: Generators shares to Line loss

# Conclusion

In the proposed work authors presents a combined methodology for the transmission usage, loss and reliability margin allocation which is based on the matrices methodology. This method is simple and easy to implement in large power system. Furthermore transmission loss and reliability margin allocation by this method is direct because all the calculation previously done for usage allocation. This method requires less

calculation as compared to other methods such as Topological generator distribution factors proposed by Bialek [4] because matrix inversion is required only one time. Further TRM allocation by this method is more as compare to method presented in [11]. Results are shown for the sample 6 bus system and IEEE 14 bus system.

# References

1. Narsingh Deo, “Graph Theory with Applications to Engineering and Computer Science”, Prentice-Hall of India, 1994, pp. 220-227.
2. J. Bialek, D. B. Tam, “Tracing The Generators’ Output”, Opportunities and Advances in International Power Generation, 18-20th March 1996.
3. Daniel Kirschen Ron Allan Goran Strbac, “Contributions of Individual Generators to Loads and Flows”, IEEE Transactions on Power Systems, Vol. 12, No. 1, February 1997.
4. Ferdinand Gubina, David Grgiˇc, Ivo Baniˇ, “A Method for Determining the Generators’ Share in a Consumer Load”, IEEE transactions on power systems, vol. 15, no. 4, November 2000.
5. Felix F. Wu, Yixin Ni, and Ping Wei, “Power Transfer Allocation for Open Access Using Graph Theory

— Fundamentals and Applications in Systems without Loop flow”, IEEE transactions on power systems, vol. 15, no. 3, august 2000.

1. Kaigui Xie, Jiaqi Zhou, Wenyuan Li, “Analytical model and algorithm for tracing active power flow based on extended incidence matrix” Electric Power Systems Research 79 (2009) 399–405.
2. P.V. Satyaramesh, C. RadhaKrishna, “Usage-based transmission loss allocation under open access in deregulated power systems”, IET Gener. Transm. Distrib., 2010, Vol. 4, Iss. 11, pp. 1261–1274, 2010.
3. Hai-Xia Wang, Rao Liu, and Wei-Dong Li, “Transmission Loss Allocation Based on Circuit Theories and Orthogonal Projection”, IEEE Trans. Power Syst., VOL. 24, NO. 2, MAY 2009.
4. SILVA E.L., MESA S.E.C., MOROZOWSKI M.: ‘Transmission access pricing to wheeling transactions: a reliability based approach’, IEEE Trans. Power Syst., 1998, 13, (4), pp. 1481–1486.
5. D. Hur, C.-I. Yoo, B.H. Kim and J.-K. Park, “Transmission embedded cost allocation methodology with consideration of system reliability”, IEE Proc.-Gener. Transm. Distrib., Vol. 151, No. 4, July 2004.
6. HUR D., YOO C.I., KIM B.H., PARK J.K.: ‘Transmission embedded cost allocation methodology with consideration of system reliability’, IEE Proc., Gener. Trans. Distrib., 2004, 151, (4), pp. 427–432.
7. Ahiakwor C.O., Chukwu U.C., Dike D.O., “Optimal transmission line pricing algorithm for a restructured power system”, Transmission and Distribution Conference and Exposition, 2008, 21-24 April 2008.