Contents lists available at ScienceDirect

Engineering Science and Technology, an International Journal

journal homepage: www.elsevier.com/locate/jestch

Engineering Science and Technology, an International Journal 45 (2023) 101472

Maximum power tracking for wind energy conversion systems via a high-order optimal disturbance observer-based LQR without a wind speed sensor

Altynay Kashaganova a, Kanat Suleimenov b, Saule Sagnaeva a, Ton Duc Do b,⇑

a Department of System Analysis and Control, Faculty of Information Technology L.N. Gumilyov Eurasian National University, Astana Z01A3D7, Kazakhstan

b Department of Robotics and Mechatronics, School of Engineering and Digital Sciences (SEDS), Nazarbayev University, Astana Z05H0P9, Kazakhstan

a r t i c l e  i n f o

Article history:

Received 2 December 2022

Revised 12 June 2023

Accepted 18 June 2023

Available online 13 July 2023

Keywords:

High-order optimal disturbance observer (HOODO)

Linear-quadratic regulator (LQR) Optimal control

Permanent magnet synchronous generator (PMSG)

Wind energy conversion systems (WECS)

a b s t r a c t

A high-order optimal disturbance observer (HOODO) is introduced to precisely estimate the aerodynamic torque and the variable wind speed; and consequently calculate the optimal speed of the generator with- out measuring the wind speed. As the immeasurable wind speed is varying fast, the aerodynamic torque, which is considered as a disturbance, is also changed fast, then the conventional assumption that the dis- turbance is slowly-varying (i.e., its first-time derivative is zero), is not applicable. The proposed HOODO design considers the fast and stochastic characteristics of the wind speed by relaxing aforementioned conventional assumption. Moreover, via the linear optimal control theory, the parameters of the HOODO are tuned systematically by proper selection of the elements of the diagonal weighting matrices. In this study, a compromise between the observer’s convergence rate and the ability to Gaussian noise suppression is also considered. This helps to solve the difficulties of many existing observers regarding the gain selection algorithms. Also in the article, for the first time, a control scheme is considered in com- bination with the proposed HOODO and the LQ controller. To maximize a power captured from the wind, a linear-quadratic regulator (LQR) is utilized to maintain the angular speed of the generator at the opti- mal speed reference. A stability analysis of the designed control scheme is also discussed. Comparative results of the HOODO under different orders as well as other observers are given to prove the effective- ness of the introduced estimation method. The obtained simulation results reveal that the HOODO has a superior estimation of disturbance. All the simulations are carried out in the MATLAB/Simulink software.

© 2023 Karabuk University. Publishing services by Elsevier B.V. This is an open access article under the CC

BY-NC-ND license (http://creativecommons.org/licenses/by-nc-nd/4.0/).

- Introduction

Wind energy is one of the main sources of renewable energy to solve the global warming and pollution associated with fossil fuels. In recent decades, the importance of wind energy has increased significantly among renewable sources [1–5]. Wind energy conver- sion systems (WECSs) are utilized to generate electric power from the aerodynamic power of the wind. In variable-speed WECSs, the permanent magnet synchronous generator (PMSG) is one of the widely used type of generators [6,7], since it has excellence in terms of high power factor, high power density, high efficiency, and high reliability [8]. However, controlling WECSs is challenging

* Corresponding author.

E-mail address: doduc.ton@nu.edu.kz (T.D. Do).

This work was supported by Nazarbayev University under the Faculty Devel- opment Competitive Research Grant Program (FDCRGP) with Grant No. 11022021FD2924.

as they have to face with nonlinearities, disturbance, model uncer- tainty, and modeling errors [9–11] of the system. Moreover, in variable-speed WECSs, the maximum power point tracking (MPPT) problem is essential. With MPPT, the optimum speed reference that the generator has to track is proportional to the wind speed. Anemometers are traditionally used to measure wind speed [12,13]; however, they cannot accurately measure wind speed for control purposes. A feasible solution is to estimate aerodynamic torque and then the wind speed by a disturbance observer (DO) [8,14]. Therefore, a DO-based control system is an effective solu- tion to these issues.

In conventional linear and nonlinear DOs [15–22], a conver- gence of the estimation error was ensured by considering that a disturbance has slow dynamics with respect to the dynamics of the observer (i.e., the first order time-derivative of a disturbance equals to zero). This kind of assumption is a popular one and works in many practical cases. However, for some particular cases when disturbances have fast dynamics, this assumption is not appropri-

https://doi.org/10.1016/j.jestch.2023.101472

2215-0986/© 2023 Karabuk University. Publishing services by Elsevier B.V.

This is an open access article under the CC BY-NC-ND license (http://creativecommons.org/licenses/by-nc-nd/4.0/).

ate and can lead to unsatisfied estimation performance. The WECS, in which the aerodynamic torque is related to the stochastic wind speed by cubic function relationship, belongs to such type of sys- tems. Shotorbani et al. presented an adaptive nonlinear distur- bance observer-based finite time control (FTC) [23]. According to this work, the proposed method has an ability to converge to an equilibrium point in the finite time and it shows better results comparing to the conventional asymptotic convergent controller (ACC). However, during the observer design, an unknown distur- bance term is considered as slowly-varying. In the work of Man- souri et al. [24], an optimization of a nonlinear observer using a genetic algorithm is proposed and the speed is estimated by a phase locked loop (PLL). To enhance robustness of the proposed system, a super twisting algorithm is used instead of a traditional PI controller. However, implementation of this method seems com- plicated since it requires two observers and utilizes a genetic algo- rithm (GA) which may need additional calculation efforts, consequently make it difficult for hardware implementation. Recently, an optimal control solution to optimal tracking of power in PMSG-based WECS is presented [25]. A sum of squares (SOS) approach was applied to design a nonlinear observer to estimate an aerodynamic torque as well as id and iq currents in WECS. In this proposed method, sum of squares conditions need to be chosen accurately. A nonlinear adaptive control for PMSG-based WECS was proposed in [26]. In this work, a high gain perturbation obser- ver (HGPO) estimates lumped disturbance including nonlinearities, parameter variations, and other external disturbances. Basically, the proposed HGPO is designed based on the Luenberger observer. An improvement for a MPPT control scheme is found in the work of Dali et al. [27]. Although the obtained results of the proposed method show its superiority over traditional methods, detailed analysis about high-order derivatives of disturbances is not pre- sented clearly. A high gain observer is designed for sensorless reg- ulation of a PMSG-based WECS [28]. However, during the observer design, the aerodynamic torque is assumed to be as slowly varying. In another work, active disturbance rejection controller was designed for a WECS [29]. According to this method, the band- widths of the controller as well as observer are taken as inverses of parameters of internal model controller (IMC) and are replaced by disturbance rejection and setpoint filters. The extended Kalman filter-based optimal controller to estimate and control PMSG-based WECS was presented in the work of Bakhtiari and Nazarzadeh [30]. The designed method shows better performance compared to the conventional PI and linear quadratic Gaussian (LQG). However, additional analysis on fast-changing disturbance conditions should be provided. The extended state observer-based adaptive distur- bance rejection control (ADRC) was utiized [31] to estimate distur- bances presented in PMSG-based WECS. However, as it is stated in the work of Das et al. [29], when the total disturbance is variable, the ESO cannot guarantee a perfect estimation of disturbance. Moreover, in WECSs with fast parametric changes, unknown exter- nal disturbance, and nonlinearities the accurate estimation of dis- turbance with the ESO is almost impossible. The article of Chen

[32] considered a nonlinear disturbance observer-based control (NDOBC). From the presented results, this method is more stable and able to suppress disturbances accurately compared to other robust control methods. Also, the use of a high-order observer shows its robustness to parameter uncertainty, unmodeled errors, and any other type of fast-varying noise [33].

To achieve the desired control system performance, together with conventional proportional-integral-derivative (PID) con- trollers, many advanced control algorithms for a PMSG exist in the literature. For example, model predictive control (MPC) [34], proportional-integral (PI) control [35], sliding mode control (SMC) [12,36], linear quadratic (LQ) control [33], integral sliding

mode control (ISMC) [12,36,37], and neural network based control (NNDC) [38]. A backstepping control [39] was presented to enhance the performance of well-known vector-control (VC) scheme by replacing a traditional PI control widely used in WECS. The backstepping control algorithm shows satisfactory perfor- mance under various simulation as well as experimental scenari- ous, but the comparative results of the presented method with other existing methods is not shown clearly. In another work, a dis- turbance observer (DOB)-based SMC was utilized to robustly con- trol of a PMSG [12]. Additionally, a fuzzy algorithm was used to switch the gains of the SMC appropriately. Comparing to the fixed-gain SMC, the proposed fuzzy SMC has advantages in terms of chattering reduction, however hardware implementation of this method might be difficult. A linear-quadratic regulator (LQR)- based optimal approach have been introduced by Le and Do [40]. In order to remove nonlinearities and disturbance terms by com- pensating them in the feedforward loop, the designed control scheme is combined with a high-order disturbance observer. The effectiveness of the presented controller requires a comprehensive analysis by comparing with other existing methods. A model- predictive control (MPC)-based on finite-control-set was designed to overcome the disadvantages existing in a conventional MPC [34]. Although this method shows improved results, its hardware realization needs a real-time setup based on a powerful controller such as field-programmable gate array (FPGA), which in turn adds additional cost to design of overall control system. Disturbance observer-based feedback linearisation control was proposed to improve transient performance under system uncertainty in WECS [35]. This method has a decoupled PI-like design with two extra parts, in which the first part is introduced as an antiwindup com- pensator, whereas the second part is used to eliminate the effect of sudden step variations in power during the transient period by using the reference jump information. Unfortunately, analysis of the system’s performance with the proposed control method under a wind profile with fast dynamics is not shown in the results. Two SMC schemes [36] were presented to control both the mechanical speed of a generator as well as a dc-link voltage. In this work, in order to prove the efficacy of the designed controller over the tra- ditional ones additional comparative studies should be conducted. A research group proposed a novel SMC-based control scheme for a PMSG [41], and the simulation outcomes reveal that with the pre- sented control method a PMSG-based WECS become stable and robust in the region of MPPT. In a recent work [37], a composite controller consisting from a LQR-based ISMC and high-order DO has been presented. In this method, the LQR is designed in the nominal control part, while the ISMC is used to cope with system nonlinearities and parametric uncertainties. The above mentioned control methods greatly improve the control characteristics in var- ious aspects. Although some of these methods are complex and dif- ficult to implement (e.g. NNDC) [38], and for some, under the influence of the mismatched uncertainties, they lose their property as robustness (e.g. SMC) [42].

Considering the previous research works, this paper introduces a high-order optimal DO (HOODO) for estimating aerodynamic tor- que which, in turn, helps to estimate the wind speed. This paper also utilizes an linear quadratic regulator (LQR), for the speed tracking problem of the generator. The efficiency of the presented optimal composite control scheme is justified by computer simula- tion in MATLAB/Simulink. The main contribution of this work are:

1) The proposed HOODO relaxes the assumption that disturbance is slowly changed. By doing this, it creates a theoretical base for estimation of fast-varying disturbances such as aerodynamic tor- que of WECSs precisely; 2) Moreover, to systematically select the gains of the proposed HOODO, an optimal algorithm is utilized. Via tuning the diagonal of weighting matrices, the gains are easily selected for satisfied performance. Note that the gain tuning rule is

a big issue in most of the existing observers; 3) Four different orders of the HOODO, i. e. first, second, third, and fourth order, are compared, analysed and investigated in detail; 4) A straightfor- ward gain tuning rule is implemented for the LQR, which is practi- cal to implement in real hardware; 5) Detailed analysis on stability of the closed-loop HOODO-based LQR is presented explicitly using the Lyapunov approach.

- Control of a WECS

This section introduces the PMSG-based WECS model [33].

Here, kopt is the optimal TSR, at which the power coefficient Cp achieves its maximum value. The ratio in the gearbox of the WT is defined using the following formula,

xt	Tg

ngb =  x = Ta	(4)

where x is the generator’s angular shaft speed, Tg is a torque of the generator’s rotor, Ta is a aerodynamic torque.

On the other hand, the WT’s aerodynamic torque depends on the angular speed xt through the expression

T  Pa   1   3	2

  - Wind turbine modelling

( )

The aerodynamic power Pa which a wind turbine (WT) can be extracted from the wind is expressed by the following non-linear relationship

a = xt = 2 qpR Cq(k; b)v

k

where Cq(k; b) = Cp (k;b).

  - A model of the PMSG

(5)

2

Pa = 1 qpR2Cp(k; b)v3

(1)

A structural analysis of the design diagrams of low-power syn-

chronous generators, carried out in [44], showed that multi-pole machines with excitation from permanent magnets outperform

where q represents the air density, R is the radius of a WT’s blade, v

is a speed of the wind, Cp(k; b) is a WT’s power coefficient, which

describes the ability of the WT to obtain a mechanical energy from the energy of the wind, k is a tip-speed ratio (TSR), b represents a pitch angle of the WT’s blade.

The power coefficient Cp relates to the TSR k and blade pitch

other types of generators in terms of efficiency and stability. This is due to the high performance of modern permanent magnets. In this paper, we will consider a PMSG-based WECSs.

We will use the dynamic model of the PMSG as given in [35]:

ngb

Ls

Ls

Ls

>: id =— id + Pxiq + ud + dd

8> Jx_ = —Bx — Te + 1 Ta

are calculated experimentally, hence it is usually reported by the

angle b by nonlinear relationships. The coefficient in most cases

< i_q =— Rs iq — Pxid — wm P x + 1 uq + d¯q

(6)

WT’s manufacturer. The dependence of the power coefficient

Cp(k; b) on the TSR k at a different angle b for a certain blade profile is given in Fig. 1. The figure shows that for each curve, there is one

_	Rs	1	¯

Ls	Ls

where id and iq are the currents of a generator’s stator, ud

and uq

are

optimal k, named kopt at which the power coefficient Cp(k; b)

reaches its maximum value.

The TSR k is defined as [43]

the voltages in the generator’s stator in the direct and quadrature

axes, respectively. Rs is a nominal value of the stator’s resistance;

Ls denotes the nominal value of the stator’s inductance; B is a vis- cous friction coefficient of the shaft of PMSG; wm defines a magnetic

v

k = xtR

where xt is the angular speed of the WT’s shaft.

(2)

flux linkage; J is the inertia of the rotating parts including the wind turbine; P is the pole pairs number; Ta and Te represent the aerody- namic torque and the electromagnetic torque, respectively. Also,

Then from (2), the optimal reference angular shaft speed of the WT is determined as

where d¯q and d¯d are the terms including parameter uncertainties, noise and modeling errors, which are calculated as follows:

koptv

d¯q = Rs — Rs +DRs iq + wm — wm +Dwm Px + 1 — 1

uq + d¯qn

xt;ref =

R	(3)

Ls	Ls +DLs

Ls	Ls +DLs

Ls	Ls +DLs	7)

Ls

Ls +DLs

Ls

Ls +DLs

d¯d = Rs — Rs +DRs id + 1 — 1

ud + d¯dn	(

Fig. 1. Relation between Cp and tip speed ratio k at different value of blade pitch angle b.

where DRs and DLs are the variations of stator resistance and induc- tance, respectively, d¯qn and d¯dn are the noise and modeling errors.

In the system (6), the electromagnetic torque Te is determined by the formula:

u = uc + Kux,	(15)

c

u

u

u

c

c

u

where Ku = —R—1BT Pu is a calculated gain of the optimal controller, where a positive definite symmetric matrix Pu > 0 is a solution of the following algebraic Riccati equation (ARE):

Te = Kiq	(8)

P A + AT P — P B R—1BT P

+ Q = 0	(16)

2

where K = 3 (wm P) is the torque coefficient.

with Q P 0 is an 3 × 3 matrix and R > 0 and is a 2 × 2 matrix. From

In next sections, the control system design is being carried out under the following assumptions:

Assumption 1: x, id, iq are available.

Assumption 2: v and Ta are not available.

- LQR design

The system (6) can be written in terms of an error-based dynamics as below:

8> x~_ =— B x~ — 1 ~i

(15) and (16), it is seen that Ku has dependency on the weight matrices Q and R. Increase of Q positively affects to reference track- ing efficiency with more control efforts applied. Increase of R leads to a small control value and poor reference tracking performance. It is recommended to take into account the indicated influence of Q and R on Ku, and to come to a compromise between control effi- ciency and energy consumption [3]. The weighting matrices are typically chosen as a diagonal ones with non-negative elements on the main diagonal. In this case, however, the presence of some

zero values on its main diagonal is allowable.

# ><~i_

J

=— Rs ~i

JK q

— wm P x~ + 1 u — u

# (9)

Theorem 1. The optimal control law in (15) provides an expo-

q

d

>>: i_

Ls q

Rs

=— i

Ls	Ls	q

Ls d

Ls

d

ffd

+ 1 u — u

ffq

nential convergence of the state vector x in system (13) to zero.

where x~ is a speed tracking error of the rotor, ~iq is the q-axis stator’s current tracking error, and uffq and uffd are control inputs serving as compensating terms in the feedforward loop. The tracking errors are determined by,

R

~

x~ = x — xref ; xref = xt,ref · ngb = kopt v · ngb

Proof. Let us define a Lyapunov candidate function V (x) as follows,

V(x) = xT Pux.	(17)

Provided that V (x) is radially unbounded positive definite function. Using (13), (15) and (16), the time derivative of V (x) is obtained:

1

B

x

_

i = i — i  ; i	=	T — x  — J

V_ (x) =  d xT P x = 2xT P (A + B K )x

q	q	qref

q,ref

_

Kngb  a

K ref

K  ref

# (10)

## dt	u

T

u	c  u

—1 T

uffq = Rsiq,ref + Liqref + wm Pxref + PLsxid

uffd = —PLsxiq

= 2x Pu A — BcR

u

u

= xT P  P A + AT P

Bc Pu

u

u

c

c

u

— 2P B R—1BT P x 6 —xT Qx.	(18)

where xref , iqref are a reference speed of a generator and a reference

of a stator current in the q-axis, respectively.

Applying Eqs. 9,10, the mathematical model in the Eqs. (9) and

(10) takes the form:

J

J

< Tee =— Tee —	x + uq — uqc

8> x~_ =— B x~ — 1 Tee

In the work [46], the deviation of parameters is considered,

As shown in (18) the first-order time derivative of V is negative for all non-zero x, which, in turn, means that the state vector x exponentially converges to zero. That is, for a given control law (15), the considered system (13) is stable, which was required to be proved.

_	Rs	wm PK ~	K

Ls	Ls	Ls

: i_d =— Rs id + 1 (ud — udc)

>

# (11)

using DA as the value of system parameter variations, the state- dependent coefficient matrix A is rewritten as A'= A + DA. There-

Ls	Ls

Te	1	_

e = Te — Teref ; Teref = ngb Ta — Bxref — Jxref

fore, (13) can be rewritten into the following error dynamics:

x_ = A'x + Bc(u — uc).	(19)

The derivative of Lyapunov function in (17) is:

Rs

T

uqc = K T

Ls _

eref + K  eref +

wm Px

ref +

PLsxid

# (12)

V_ (x) = 2xT Pux_

K

udc =— PLs xTe

T

We note that xref and iqref are unknown, since v and Ta are unknown

u

u

u

u

u

c

c

u

= xT P A + P DA + DAT P + A P — 2P B R—1BT P x

by Assumption 2. To estimate Ta and v, details on design of the HOODO will be given in the following sections.

The system in (11) can be rewritten in the state-space form as follows,

x_ = Ax + Bc(u — uc)	(13)

with

J

0

3

J

2 — B	1	2 0  0 3

wm PK

—

ties will be included in Section 5.

A = 6 —	Rs  0  7, Bc = 6  K  0 7.	(14)

# < 0.	(20)

Using (16), the derivative becomes

c

V_ (x) = xT PuDA + DAT Pu — Q — PuBcR—1BT Pu x.	(21)

If the following inequality holds for the considered DA:

c

PuDA + DAT Pu < PuBcR—1BT Pu + Q .	(22)

then x exponentially converges to zero.

Extensive simulation results considering parameter uncertain-

0

0	0	— Rs

1

Ls

h	e	i

4	Ls	Ls

5	4 Ls	5

Ls

x~

Te

id

q

d

c

qc

dc ]

where x =	~ T , u = [ u	u ]T , u = [ u

The optimal control law is defined as [45]:

u  T .

- High-order optimal disturbance observer-based control

This section presents the designing of the proposed high-order optimal observer for estimating aerodynamic torque as rapidly

changing disturbances. To estimate Ta, the speed dynamics equa- tion in (6) is considered:

x_ = — B x — 1 Te +  1  Ta!	(23)

where km1 denote the smallest eigenvalue of GQ 0G. Therefore, an appropriate tuning of Q 0 and R0 can provide a bounded norm of the estimator after sufficiently large duration of time, i. e.

~

## J	J	Jngb

x  6 k1	(30)

Jngb

Assumption 3: A disturbance term, defined as, d =  1  Ta is

assumed to be continuous and its rth -order time-derivative is

bounded, i.e., |d(r)| 6 n, where d(r) is the rth-order time derivative of the disturbance, and n > 0 represents an unknown number.

  - High-order optimal disturbance observer design

Combining (23) and Assumption 2, the following extended sys- tem can be achieved:

( x_ = Ax + Bu + Md(r)

where k1 = 2  HM e/km1.

=

We note that the estimation performance of the observer depends on the value of k1. Its value can be selected by changing Q 0 and R0. Hence, by referring to [47], the observer can guarantee definitive boundedness and uniform stability of a small ball with the center at ~x  0.

=

Remark 1: In a previous work [48], a high-order observer (HOO) was presented to estimate the high-order disturbance with the assumption that d(r)  0. This somehow solves the conven-

tional  assumption  associated  with  conventional  DO  that

y = Cx

where x = h x  d  d(1)

d(r) iT , u =— 1 T ,

# (24)

d(1)	d_	0; however, does not reflect a broad range of time- varying disturbance, such as that in aforementioned Assumption

=  =

For example, when the disturbance includes a fast-varying sinu-

J

2 — B

·· ·

# 1  0  ·· · 0 3

J  e

# 2 1 3

soidal signal, the assumption in HOO is not applicable.

Remark 2: The gains in HOO is designed based on a loose guide-

6	7

.

.

, B	= 6 7,

0	0  1  ·· · 0

A(r+1)×(r+1) = 6

0

7 (r+1)×1	6 . 7

line, in which the observer gains are selected such that the charac-

teristic equation meets the Hurwitz criterion. That means as long as the gains are positive, it is satisfied. This does not help the

64	75

0	0  0  ·· · 1

0	0  0  ·· · 0

2 0 3

4 . 5

0

(25)

designer to select appropriate gains for their applications other than trial-and-error. On the other hand, the proposed HOODO is designed based on the optimal control framework, has a systematic

way of selecting the weighting matrices, i.e., selecting the gains of

C1×(r+1)

# = [ 1 0  ·· · 0 ], M

0

664 7

5

=

.

(r+1)×1	.  ,

# 1

the observer via an straight-forward and implementable rule.

  - High-order optimal disturbance observer-based tracking control

It is straightforwarded to see that for any positive integer value of r

b

^	 1

a pair A, C  is observable.

(26)

The proposed high-order optimal disturbance observer is designed as:

With d = Jngb T a estimated by using the HOODO and the system as in (11); via (1), (3), (5) and (10), the estimation of the generator’s reference speed is calculated as

dt = Ax + Bu + Lg y — Cx

d^x	^	 	^

x^ ref = ngb sﬃﬃTbﬃﬃﬃaﬃﬃﬃ

kopt

# (31)

where Lg = P0CT R0—1 is the observer gain with P0 as the solution of

where k

= qpR	. Based on estimated aerodynamic torque

1	5 Cpmax

the ARE below:

opt	2

3

k

opt

0

0

0

0

0

AP + P AT — P CT R—1CP + Q

# = 0	(27)

Tba , the compensating terms as well as reference speed tracking

error are derived as

0

where Q 0 P 0, R0 > 0 and both are symmetric matrices.	~	~

The error dynamics form of the proposed observer is obtained as:

~x + Md(r)	(28)

~

x^ = x — x^ ref ; T^ e = Te — T^ eref ;

ngb

K

K

T^ e,ref = 1 T^ a — Bx^ ref — Jx^_ ref

# (32)

dx

= A — L C

dt	g

u^ qc =

Rs T^ e,ref + Ls T^_ e,ref + wm Px^ ref + PLsxid

where ~x is the estimation error, x~ = x — x^.

id

c

Theorem 2. The proposed high-order optimal disturbance obser- ver (HOODO) designed with (26)–(27) can guarantee a bounded

Control law (15) now becomes

u = u^c + Ku^x	(33)

estimation error.

where ^x = h x^~

T^~e

~ iT , u^

= u^qc

udc

T .

Proof. Let us introduce a Lyapunov function as V ~x = ~xT G~x,

Then, from (31)–(33), the following equations are achieved,

^x = x + Fxe

where G = P0—1. The first-order time-derivative of the candidate

u^c = uc + Hxe

# (34)

0	0	0

, H =

.

Lyapunov function written in terms of the observer’s error dynam- ics (28) is determined by

V_ =  d ~xT G~x = 2x~T GA — P CT R—1C

~x + 2~xT GMd(r) =

~xT G AP0 + P0AT — 2P0CT R—1CP0

× G~x + 2~xT GMd(r) 6

(29)

dt

0

where

xe = [ e

e_ ] , e = Ta — Ta, F =

n1 = ,ﬃﬃﬃﬃﬃﬃ ,gbﬃﬃﬃﬃ ,ﬃﬃﬃﬃ,	n2 = 1 — Bn1 — Jg,	with

T

n

b	 n1  n2  0 T

ngb

n3  n4

0	0

~x

—x~T GQ 0G~x + 2x~T GMd(r) 6 —~x k

m1

— 2  GM e

g = qﬃnﬃﬃgﬃbﬃﬃﬃﬃﬃﬃﬃﬃﬃ ,Tﬃﬃﬃaﬃﬃ — bT a ,

kopt

Ta +

T^a

2  kopt TabT a

Ta +bT a

K

K

K

ngb

n3 =— Rsn2 + LB g_ — wm Pn1, n4 =— Ls 1 — Jg .

  - Closed-loop stability analsysis

Let us rewrite (33) based on (34) as

u = uc + Kux + Exe	(35)

=	+

where E	KuF	H.

On the other hand, we have

xe = U~x	(36)

Table 1

Parameters of the WECS [49].

Symbol	Quantity	Value	[Unit]

Prated	Rated power	5	kW Rs	Resistance of a stator	0.3676	X Ls	Inductance of a stator	3.55	mH

wm	Magnet flux linkage	0.2867	V · s/rad J	Mechanical inertia	7.856	kg · m2

P	Pole pairs	14	–

B	Viscous friction coefficient	0.002	kg · m2/s R	Rotor radius	1.84	m

q	Air density	1.25	kg/m3

ngb	Gear box ratio	1	–

where U2

r 1 = 0  1	0 ·· · 0 .

×( + )

0  0	1 ··· 0

Theorem 3. A state vector x and its estimation error ~x are ultimately bounded around the origin.

Proof. Let us take a Lyapunov function of the form:

V  x, ~x = xT Pux + cx~T G~x	(37)

where c > 0.

The time-derivative of the Lyapunov function is

V_ (x, xe) = 2xT Pu(Ax + Bcu — Bcuc) + 2c~xT G A — LgC ~x =

2xT Pu Ax — BcKux + BcEU~x + 2cx~T G A — Lg C ~x + 2c~xT GMd(r) 6

—xT Qx + 2xT PuBcEU~x — c~xT GQ 0G~x + 2c~xT GMe

We further denote xa = x

x~ T , so

# (38)

Fig. 3. Wind profile used in the study.

x = T1xa, ~x = T2xa	(39)

where T1 = I3  03×(r+1) , T2 = 0(r+1)×3  I(r+1) .

Then,

—xT Qx + 2xT PuBcEU~x — c~xT GQ 0G~x + 2c~xT GMe =

Table 2

Parameters of controllers and observers.

T T	T T

T T	T T

Parameters

—xa T1QT1xa + 2xa T1 PuBcEUT2Xa — cxa T2 GQ 0GT2xa + 2cxa T2 GMe 6

HOODO, r = 1	Q = 5e2 × diag(1e1, 1), R = 1

LQR	Q

diag 1e5 1 1 R

diag 1 1

2	T

2	T

m2

a

1

u

c

2

a

2

a

—k x  + 2c  T P B EUT  · x  + 2ce  T GM  x  =

=	(	, , ), =	( , )

1	2

—xa  h km2 — 2c  TT PuBcEUT2  xa  — 2ce  TT GM i

# (40)

HOODO, r = 2	Q = 5e2 × diag(1e1, 1e2, 1), R = 1

HOODO, r = 3	Q = 5e2 × diag(1e1, 1e2, 1e2, 1), R = 1

HOODO, r = 4	Q = 5e2 × diag(1e1, 1e2, 1e2, 1e2, 1), R = 1

HOO, r = 3	L0 = 1e2, L1 = 1e3, L2 = 3e4, L3 = 1e1

HOO, r = 1	L0 = 1e2, L1 = 1e3

1

1

2

0

where km2 denote the smallest eigenvalue of TT QT + cTT GQ GT2 .

HOO, r = 2	L0 = 1e2, L1 = 1e3, L2 = 3e4

From (40), it is seen that we can always obtain c to assure that

HOO, r = 4	L0 = 1e2, L1 = 1e3, L2 = 3e4, L3 = 1e1, L4 = 1e1

Table 3

Tracking error of the reference speed.

Scenario 1

Scenario 2

Scenario 3

Scenario 4

Fig. 2. General control scheme of the PMSG-based WECS with the proposed HOODO-based LQR.

DRs , %	0	+20	+40	+40

DLs , %	0	—1	—15	15

Dwm , %	0	0	0	2

x~ LQR+HOO, rad/s	r = 1 19.0570	18.8910	23.6818	22.6737

r = 2 2.6650	2.6022	3.6882	3.5078

r = 3 2.6650	2.6022	3.6883	3.5085

r = 4 2.6650	2.6022	3.6883	3.5085

x~ LQR+HOODO, rad/s r = 1 9.1160	9.0555	11.7513	11.2662

r = 2 0.4724	0.4726	0.4715	0.4717

r = 3 0.4822	0.4823	0.4813	0.4815

r = 4 0.4713	0.4714	0.4703	0.4706

1

km2 — 2c  TT PuBcEUT2  > 0. So, after sufficiently long time with appropriately selected Q 0, R0, Q , and R,  xa  is bounded as

xa  6 k2	(41)

2

1

where k2 = 2ce  TT GM / km2 — 2c  TT PuBcEUT2  . Hence, the state

erated by adding four periodic signals with various amplitudes and frequencies and a Gaussian noise. The generated wind profile sig- nal varies rapidly from a minimum equal to 2.6 m/s to a maximum

equal to 14.4 m/s. The maximum power factor Cpmax = 0.4412 was

calculated using kopt = 8.09.

posed HOODO, and HOO [50].

Table 2 shows the selected weighting matrices of the LQR, pro-

vector x and its estimation error x~ are bounded, and by appropriate tuning of the weighting matrices of both controller and observer, it is possible to lower that bound. Finally, the stability of closed-loop composite control based on the HOODO is proven in the sense of [47].

- Simulation results

The control scheme of the PMSG-based WECS is shown in Fig. 2. The diagram includes a PMSG, a three-phase inverter, a DC-link with battery bank. The control system requires an encoder and two current sensors. The signals of current is fed to analog-to-digital (ADC) block. There are also Clark and Park blocks required for the frame transformations. The control system includes the proposed HOODO and LQR. The output of controller is then sent to a block for frame transformation and then to the space vector pulse- width modulation (SVPWM) to generate high-frequency switching commands for the three phase inverter. A pitch controller is designed to prevent the WECS system from damage when the wind

speed is above the rated value.

The WECS parameters are shown in Table 1. On the other hand, a profile of the time-varying wind speed, with an average speed equals to 8.43 m/s, is depicted in Fig. 3. The profile has been gen-

  - Discussion of results

Two control schemes are tested under four different scenarios, where performances of the HOO and HOODO are compared for variations in Ls, Rs, and w. In Scenario 1, we studied performance of each control scheme applied for the WECS with nominal values

of each parameter (Ls, Rs, w). In Scenario 2, we applied the HOO and

HOODO for the WECS where the stator inductance Ls decreased by

—

—1 % and the stator resistance Rs increased by 20 %, whereas the magnetic flux linkage w remained to be constant. Scenario 3 con- siders parameter variations similar to [50], where the stator induc- tance decreased by 15 % and resistance increased by 40 %, while the magnetic flux linkage did not change. In Scenario 4, the varia- tions in the stator resistance and inductance are taken similar to the amount of variations in Scenario 3, and the magnetic flux link- age is decreased by 2 % with assumption that the motor operates under high temperature for a long time [51,52]. The results of each scenario are summarized in Table 3 and Table 4. Here, the HOO

[50] is implemented with the same controller and the same scenar- ios for the purpose of comparison.

Figs. 4–15 present the simulation results of the proposed HOODO-based LQR method under Scenario 2. Figs. 6, 7 illustrate

Fig. 4. Scenario 2. Errors of speed estimation with the HOODO-based LQR for

r = 1, 2, 3, 4.

Fig. 5. Scenario 2. Errors of aerodynamic torque estimation with the HOODO-based LQR for r = 1, 2, 3, 4.

Table 4

Tracking error of Ta .

Scenario 1  Scenario 2  Scenario 3  Scenario 4

TeaLQR+HOO

DRs , %	0	+20	+40	+40

DLs , %	0	—1	—15	15

Dwm , %	0	0	0	2

, N · m	r = 1  1.5688	1.5666	1.6366	1.6329

TeaLQR+HOODO

, N · m

r = 2  1.3932	1.3916	1.4284	1.4181

r = 3  1.3932	1.3916	1.4284	1.4181

r = 4  1.3932	1.3916	1.4284	1.4181

r = 1  1.5149	1.5136	1.5908	1.5872

r = 2  0.6273	0.6273	0.6276	0.6276

r = 3  0.6896	0.6896	0.6900	0.6899

r = 4  0.6251	0.6251	0.6253	0.6253

Fig. 6. Scenario 2. Speed tracking performance with the proposed HOODO-based LQR for r = 1.

Fig. 7. Scenario 2. Estimation of Ta with the HOODO-based LQR for r = 1.

Fig. 8. Scenario 2. Pitch-angle and power coefficient with the proposed HOODO- based LQR for r = 1.

=

the controller and observer performance with the proposed HOODO-based LQR with r = 1. It is seen from these figures that the estimated Ta and tracking error are sufficiently accurate for the proposed LQR with HOODO observers. Fig. 8 presents the pitch angle control performance for r  1. Figs. 9–17 show the estima-

=	=	=

tion and control performances with r  2, r  3, and r  4, respec-

tively. Despite of the rapid change of the wind speed and pitch angle in this gust wind, the HOODO-based LQR is able to show its good performance in all cases. Figs. 18–21 illustrate the perfor- mance of the HOO for comparison. For the convenience of the reader to track the difference of these methods, Tables 3 and 4 summarize the results for each case. It can be seen that, as the order increase higher than two, the performance is slightly improved for both HOO and the proposed HOODO. Also, it is clear from the table that, with HOODO, both the wind speed tracking and disturbance estimation performances are better compared to those of the HOO. For example, with r = 2 in Scenario 1, the root

Fig. 9. Scenario 2. Speed tracking performance with the proposed HOODO-based LQR for r = 2.

Fig. 10. Scenario 2. Estimation of Ta with the HOODO-based LQR for r = 2.

Fig. 11. Scenario 2. Pitch-angle and power coefficient with the proposed HOODO- based LQR for r = 2.

mean of squared error (RMSE) of the wind speed tracking and aero- dynamic torque estimation with the proposed HOODO is 0.4724% and 0.6273%, respectively; whereas those with HOO are larger, 2.6650% of the wind speed tracking and 1.3932% of aerodynamic

torque estimation. In Scenario 2, LQR with HOO shows the RMSE value of 2.6022% for the wind speed tracking and 1.3916% for aerodynamic torque estimation, whereas the RMSE values for the torque estimation and wind speed tracking for the proposed

HOODO control scheme did not change from Scenario 1 to Scenario

- In scenarios 3 and 4, we consider more severe condition by con- sidering larger parameter variations. In both scenarious, the first order HOO and HOODO degrade in performance of speed estima- tion, and show more stable results starting from the order two. Nevertheless, starting from the second order, the HOODO gives much less estimation error comparing to the HOO, which means

Fig. 12. Scenario 2. Speed tracking performance with the proposed HOODO-based LQR for r = 3.

Fig. 13. Scenario 2. Estimation of Ta with the HOODO-based LQR for r = 3.

that the HOODO is more accurate than the HOO under the severe parameter variations.

Further comparison of the proposed HOODO with the HOO observer from the simulation results shows that for the HOO, the

=

error in estimating the aerodynamic torque of four values of r for the HOO-based LQR control scheme are (eT )max = 1.5688%, 1.3932% and 1.3932%, 1.3932% for r = 1, 2, 3 and 4, respectively. For the wind speed estimation error (x~ )max = 19.0570%, 2.6650% and 2.6650%, 2.6650% for r  1, 2, 3 and 4, respectively. While

the HOODO-based LQR control results show that the aerodynamic torque estimation error and angular speed estimation error are

Fig. 14. Scenario 2. Pitch-angle and power coefficient with the proposed HOODO- based LQR for r = 3.

Fig. 15. Scenario 2. Speed tracking performance with the proposed HOODO-based LQR for r = 4.

unchanged for all r = 1, 2, 3 and 4 : (eT )max = 9.1160%, 0.4724%, 0.4822%, 0.4713%  and  (x~ )max = 1.5149%, 0.6273%, 0.6896%,

0.6251%, respectively, and are illustrated in Fig. 4. The aerody- namic torque estimation errors for each r are plotted in Fig. 5. By

looking at the aerodynamic torque estimation performance in Table 4, one can conclude that the proposed HOODO scheme can be used to achieve much less estimation error than the HOO. Fur- ther, to validate robustness of the HOODO performance to different parameter variations, we run 10 random simulations with the same wind profile for all cases, where Rs is randomly increases in

[—	]	[—	]

[	]

the range 1%, 40% , Ls, and wm randomly decrease in the range 15%, 0% and	2%, 0% , respectively. The amount of variations

for each parameter were determined using a uniform probability distribution within the given ranges. The simulation results of

Fig. 16. Scenario 2. Estimation of Ta with the HOODO-based LQR for r = 4.

Fig. 17. Scenario 2. Pitch-angle and power coefficient with the proposed HOODO- based LQR for r = 4.

speed estimation error and aerodynamic torque estimation error are respectively shown in Tables 5 and 6. The estimation perfor- mance for both speed and aerodynamic shows that the HOODO can guarantee a stable estimation error with amplitude less than

0.5 rad/s and 0.7 rad/s for the speed and aerodynamic estimation

error, respectively.

It can be revealed from the results that the use of HOODO-based LQR can significantly improve a system performance by reducing the tracking error comparing to the HOO-based LQR in both cases. It means the designed HOODO-based LQR method is more robust to changes in the system and parameters uncertainties. Moreover, by using of the designed HOODO-based control scheme, the esti-

mation of x and Ta in the PMSG-based WECS shows better results

even in the cases of changing some parameters than the results reported in [35,36,40].

Fig. 18. Scenario 2. Tracking of reference wind speed and aerodynamic torque estimation performance for r = 1: a) Speed estimation with HOO; b) Speed estimation with HOODO; c) Speed estimation error with HOO; d) Error of the speed estimation with HOODO; e) Estimation of Ta with HOO; f) Estimation of Ta with HOODO; g) Estimation error of Ta with HOO; h) Estimation error of Ta with HOODO.

- Conclusions

This work introduced the high-order optimal disturbance observer (HOODO)-based LQR for PMSG-based WECSs. The pre- sented HOODO is able to estimate an aerodynamic torque consid- ered as a disturbance and, hence, a speed of the wind with fast varying dynamics. Detailed analysis on the stability of the HOODO-based composite controller is carried out via the Lyapunov approach. The simulations show that the HOODO-based LQR has

better accuracy than HOO-based LQR method. The presented con- troller with HOODO can guarantee smaller error and faster response time than previous observer-based control schemes reported so far. In addition, its parameter insensitivity property is significantly better than that of the HOO-based LQR. The work performed confirms the effectiveness of the proposed HOODO and its superiority compared to other types of high-order obser- vers. Future work might focus on: 1) building an experimental setup and verify the performance of the proposed methods exper-

Fig. 19. Scenario 2. Tracking of reference wind speed and aerodynamic torque estimation performance for r = 2: a) Speed estimation with HOO; b) Speed estimation with HOODO; c) Speed estimation error with HOO; d) Error of the speed estimation with HOODO; e) Estimation of Ta with HOO; f) Estimation of Ta with HOODO; g) Estimation error of Ta with HOO; h) Estimation error of Ta with HOODO.

Fig. 20. Scenario 2. Tracking of reference wind speed and aerodynamic torque estimation performance for r = 3: a) Speed estimation with HOO; b) Speed estimation with HOODO; c) Speed estimation error with HOO; d) Error of the speed estimation with HOODO; e) Estimation of Ta with HOO; f) Estimation of Ta with HOODO; g) Estimation error of Ta with HOO; h) Estimation error of Ta with HOODO.

Fig. 21. Scenario 2. Tracking of reference wind speed and aerodynamic torque estimation performance for r = 4: a) Speed estimation with HOO; b) Speed estimation with HOODO; c) Speed estimation error with HOO; d) Error of the speed estimation with HOODO; e) Estimation of Ta with HOO; f) Estimation of Ta with HOODO; g) Estimation error of Ta with HOO; h) Estimation error of Ta with HOODO.

Table 5

Tracking error of the reference speed for 10 simulations with random parameter variations in the defined ranges.

Parameters	Simulations

1	2	3	4	5	6	7	8	9	10

DRs , %	+22	+7	+25	+11	+27	+30	+19	+35	+17	+33

DLs , %	—12	—15	—2	—9	—8	—6	—3	—14	—4	10

Dwm , %	—1.9	—0.3	—1.7	—1.1	—2	—0.9	—0.2	—0.5	—1.5	—1.3

x~ LQR+HOODO, rad/s	r = 1	11.1011	12.1692	8.7026	10.8419	9.6300	9.7866	9.5824	11.1827	9.3662	10.4607

r = 2	0.4717	0.4711	0.4728	0.4717	0.4723	0.4722	0.4723	0.4717	0.4724	0.4720

r = 3	0.4815	0.4809	0.4825	0.4815	0.4821	0.4820	0.4820	0.4815	0.4821	0.4818

r = 4	0.4705	0.4699	0.4717	0.4706	0.4712	0.4711	0.4712	0.4706	0.4713	0.4709

Table 6

Tracking error of Ta for 10 simulations with random parameter variations in the defined ranges.

Parameters	Simulations

1	2	3	4	5	6	7	8	9	10

DRs , %	+22	n+7	+25	+11	+27	+30	+19	+35	+17	+33

DLs , %	—12	—15	—2	—9	—8	—6	—3	—14	—4	10

Dwm , %	—1.9	—0.3	—1.7	—1.1	—2	—0.9	—0.2	—0.5	—1.5	—1.3

TeaLQR+HOODO

, N · m

r = 1	1.5862	1.5946	1.5090	1.5843	1.5221	1.5259	1.5216	1.5866	1.5179	1.5803

r = 2	0.6275	0.6276	0.6273	0.6275	0.6274	0.6274	0.6274	0.6275	0.6274	0.6275

r = 3	0.6899	0.6901	0.6895	0.6899	0.6897	0.6897	0.6897	0.6899	0.6897	0.6898

r = 4	0.6253	0.6253	0.6251	0.6252	0.6252	0.6252	0.6252	0.6253	0.6251	0.6252

imentally. 2) Developing a finite time stability theory for closed- loop observer-based control for WECSs.

References

- Liao M, Dong L, Jin L, Wang S. Study on Rotational Speed Feedback Torque Control for Wind Turbine Generator System. 2009 International Conference on Energy and Environment Technology 2009; 1: 853–856.

- Taghinezhad J, Mahmoodi E, Masdari M, Alimardani R. Spectral Analyses of an Optimized Ducted Wind Turbine using Hot-Wire Anemometry. 7th Iran Wind Energy Conference (IWEC2021) 2021: 1–4.

- Yin Y, Liao M, Lyu P. The dynamic stability analysis of wind turbines under different control strategies. 2015 5th International Conference on Electric Utility Deregulation and Restructuring and Power Technologies (DRPT) 2015: 2581–2586.

- Shi G, Zhang J, Cai X, Zhu M. Decoupling control of series-connected DC wind turbines with energy storage system for offshore DC wind farm. 2016 IEEE 7th International Symposium on Power Electronics for Distributed Generation Systems (PEDG) 2016: 1–6.

- Li Y, Zheng Y, Zhu N, Zhao F. Wind Turbine Kinetic Energy Accumulation and Release Regulation for Wind Farm Optimization. 2019 4th International Conference on Mechanical, Control and Computer Engineering (ICMCCE) 2019: 231–235.

- M. Cheng, Y. Zhu, The state of the art of wind energy conversion systems and technologies, Energy Convers Manag. 88 (2014) 332–347.

- V. Yaramasu, B. Wu, Basics of wind energy conversion systems (WECS). Model Predictive Control of Wind Energy Conversion Systems, John Wiley & Sons, 2016, pp. 1–467.

- M. Karabacak, H. Eskikurt, Design, modelling and simulation of a new nonlinear and full adaptive backstepping speed tracking controller for uncertain PMSM, Appl. Math. Model 36 (11) (2012) 5199–5213.

- H.W. Kim, M.J. Youn, K.Y. Cho, H.S. Kim, Nonlinearity estimation and compensation of PWM VSI for PMSM under resistance and flux linkage uncertainty, IEEE Trans. Control Syst. Technol. 14 (4) (2006) 589–601.

- J. Yang, W.H. Chen, S. Li, L. Guo, Y. Yan, Disturbance/Uncertainty Estimation and Attenuation Techniques in PMSM Drives, IEEE Trans. Ind. Electron. 64 (4) (2017) 3273–3285.

- T. Ishikawa, N. Igarashi, N. Kurita, Failure Diagnosis for Demagnetization in Interior Permanent Magnet Synchronous Motors, Int. J. Rotating Mach. 2 (2017) 716–814.

- T.D. Do, Disturbance observer-based fuzzy SMC of WECSs without wind speed measurement, IEEE Access 5 (2016) 147–155.

- H. Fathabadi, Novel maximum electrical and mechanical power tracking controllers for wind energy conversion systems, IEEE J. Emerg. Sel. Top. Power Electron. 5 (4) (2017) 1739–1745.

- A. Meza, Analysis of fuzzy observability property for a class of TS fuzzy models, IEEE Latin Am. Trans. 15 (4) (2017) 595–602.

- W.H. Chen, Nonlinear disturbance observer-enhanced dynamic inversion control of missiles, J. Guid., Control, Dyn. 26 (1) (2003) 161–166.

- K. Eom, I. Suh, W. Chung, Disturbance observer based path tracking control of robot manipulator considering torque saturation, Mechatronics 11 (2001) 325–343.

- T. Umeno, T. Kaneko, Y. Hori, Robust servosystem design with two degrees of freedom and its application to novel motion control of robot manipulators, IEEE Trans. Ind. Electron. 40 (5) (1993) 473–485.

- J. Ishikawa, M. Tomizuka, Pivot friction compensation using an accelerometer and a disturbance observer for hard disk drives, IEEE/ASME Trans. Mechatronics 3 (3) (1998) 194–201.

- B. Guvenc, L. Guvenc, Robust two degree-of-freedom add-on controller design for automatic steering, IEEE Trans. Control Syst. Technol. 10 (1) (2002) 137–

148.

- Jd.J. Rubio, Hybrid controller with observer for the estimation and rejection of disturbances, ISA Trans. 65 (2016) 445–455.

- Jd.J. Rubio, G. Ochoa, R. Balcazar, J. Pacheco, Uniform stable observer for the disturbance estimation in two renewable energy systems, ISA Trans. 58 (2015) 155–164.

- W.H. Chen, A nonlinear disturbance observer for robotic manipulators, IEEE Trans. Industr. Electron. 47 (4) (2000) 932–938.

- A.M. Shotorbani, B. Mohammadi-Ivatloo, L. Wang, M. Marzband, M. Sabahi, Application of finite-time control Lyapunov function in low-power PMSG wind energy conversion systems for sensorless MPPT, Int. J. Electr. Power Energy Syst. 106 (2019) 169–182.

- M. Mansouri, M. Bey, S. Hassaine, M. Larbi, T. Allaoui, M. Denai, Genetic algorithm optimized robust nonlinear observer for a wind turbine system based on permanent magnet synchronous generator, ISA Trans. (2022).

- H.T. Nguyen, A.S. Al-Sumaiti, V.P. Vu, A. Al-Durra, T.D. Do, Optimal power tracking of PMSG based wind energy conversion systems by constrained direct control with fast convergence rates, Int. J. Electr. Power Energy Syst. 118 (2020) 105807.

- J. Chen, W. Yao, C.K. Zhang, Y. Ren, L. Jiang, Design of robust MPPT controller for grid-connected PMSG-Based wind turbine via perturbation observation based nonlinear adaptive control, Renewable Energy 134 (2019) 478–495.

- A. Dali, S. Abdelmalek, A. Bakdi, M. Bettayeb, A new robust control scheme: Application for MPP tracking of a PMSG-based variable-speed wind turbine, Renewable Energy 172 (2021) 1021–1034.

- A. Watil, A. El Magri, A. Raihani, R. Lajouad, F. Giri, An adaptive nonlinear observer for sensorless wind energy conversion system with PMSG, Control Eng. Practice 98 (2020) 104356.

- S. Das, B. Subudhi, A two-degree-of-freedom internal model-based active disturbance rejection controller for a wind energy conversion system, IEEE J. Emerg. Selected Top. Power Electron. 8 (3) (2019) 2664–2671.

- F. Bakhtiari, J. Nazarzadeh, Optimal estimation and tracking control for variable-speed wind turbine with PMSG, J. Modern Power Syst. Clean Energy 8

(1) (2019) 159–167.

- S. Li, M. Cao, J. Li, J. Cao, Z. Lin, Sensorless-based active disturbance rejection control for a wind energy conversion system with permanent magnet synchronous generator, IEEE Access 7 (2019) 122663–122674.

- Chen WH. Nonlinear Disturbance Observer Based Control for Nonlinear Systems with Harmonic Disturbances. 5th IFAC Sympos. on Nonlinear Control Systems 2001 2001; 34(6): 329– 334.

- A. Le, T.D. Do, High-order observers-based LQ control scheme for wind speed and uncertainties estimation in WECSs, Optim. Control Appl. Methods 39 (5) (2018) 1818–1832.

- Z. Zhang, Z. Li, M. Kazmierkowski, J. Rodrguez, R. Kennel, Robust predictive control of three-level NPC back-to-back power converter PMSG wind turbine systems with revised predictions, IEEE Trans. Power Electron. 33 (11) (2018) 9588–9598.

- R. Errouissi, A. Al-Durra, M. Debouza, A novel design of PI current controller for PMSG-based wind turbine considering transient performance specifications and control saturation, IEEE Trans. Ind. Electron. 65 (11) (2018) 8624–8634.

- A. Merabet, K. Ahmed, H. Ibrahim, R. Beguenane, Implementation of sliding mode control system for generator and grid sides control of wind energy conversion system, IEEE Trans. Sustain. Energy 7 (3) (2016) 1327–1335.

- K. Suleimenov, B. Sarsembayev, B. Phuc, T.D. Do, Disturbance Observer based Integral Sliding Mode Control for Wind Energy Conversion Systems, Wind Energy (2020) 1–22.

- L. Tan, T. Cong, D. Cong, Neural Network Observers and Sensorless Robust Optimal Control for Partially Unknown PMSM With Disturbances and Saturating Voltages, IEEE Trans. Power Electron. 36 (10) (2021) 12045–12056.

- D. Aziz, B. Jamal, Z. Othmane, M. Khalid, B. Bossoufi, et al., Implementation and validation of backstepping control for PMSG wind turbine using dSPACE controller board, Energy Reports 5 (2019) 807–821.

- T.D. Do, H.T. Nguyen, A Generalized Observer for Estimating Fast–Varying Disturbances, IEEE Access 6 (2018) 28054–28063.

- L. Pan, C. Shao, Wind energy conversion systems analysis of PMSG on offshore wind turbine using improved SMC and Extended State Observer, Renewable Energy 161 (2020) 149–161.

- X. Yu, O. Kaynak, Sliding-mode control with soft computing: A survey, IEEE Trans. Ind. Electron. 56 (9) (2009) 3275–3285.

- D. Murray-Smith, Modelling and Simulation of Integrated Systems in Engineering, Woodhead Publishing, Sawston, Cambridge, 2012.

- A. Anufriev, Y. Makarichev, Y. Zubkov, V. Pevchev, Mathematical model of a synchronous generator of a low-power wind power plant, 3, Bulletin of the Samara State Technical University. Series Technical Sciences, 2017, pp. 66–74.

- O. Aguilar, R. Tapia, A. Valderrabano, H. Minor, Design and performance comparison of pi and adaptive current controllers for a WECS, IEEE Lat. Am. Trans. 13 (5) (2015) 1361–1368.

- E. Kim, F. Mwasilu, H. Choi, J. Jung, An Observer-Based Optimal Voltage Control Scheme for Three-Phase UPS Systems, IEEE Trans. Industr. Electron. 62 (4) (2015) 2073–2081.

- M.J. Corless, G. Leitmann, Continuous state feedback guaranteeing uniform ultimate boundedness for uncertain dynamic systems, IEEE Trans. Autom. Control 26 (1981) 1139–1144.

- K.S. Kim, K.H. Rew, S. Kim, Disturbance Observer for Estimating Higher Order Disturbances in Time Series Expansion, IEEE Trans. Autom. Control 55 (8) (2010) 1905–1911. doi: 10.1109/TAC.2010.2049522.

- F. Valenciaga, P.F. Puleston, High-Order Sliding Control for a Wind Energy Conversion System Based on a Permanent Magnet Synchronous Generator, IEEE Trans. Energy Convers. 23 (3) (2008) 860–867. doi: 10.1109/ TEC.2008.922013.

- A.V. Le, T.D. Do, High-order observers-based LQ control scheme for wind speed and uncertainties estimation in WECSs, Optimal Control Appl. Methods 39 (5) (2018) 1818–1832.

- K. Liu, Z. Zhu, J. Zhang, Q. Zhang, A. Shen, Multi-parameter estimation of non- salient pole permanent magnet synchronous machines by using evolutionary algorithms, IEEE (2010) 766–774.

- K. Liu, Q. Zhang, J. Chen, Z.Q. Zhu, J. Zhang, Online multiparameter estimation of nonsalient-pole PM synchronous machines with temperature variation tracking, IEEE Trans. Industr. Electron. 58 (5) (2010) 1776–1788.

Kanat Suleimenov received the B.S. degree in engi- neering and technology from Kazakh-British Technical University, Almaty, Kazakhstan, in 2014, and the M.S. degree in mechanical engineering from Nazarbayev University, Nur-Sultan, Kazakhstan, in 2019, where he is currently pursuing the Ph.D. degree with the Depart- ment of Robotics and Mechatronics. From November 2014 to August 2015, he was with Coca-Cola Almaty Bottlers Company, where he served as an Operator on the production line. From 2016 to 2017, he worked as a Laboratory Technician with the Department of Mechanical Engineering, School of Engineering, Nazar-

bayev University. From February 2018 to August 2019, he worked as a Research Assistant in the Power Conversion and Motion Control Laboratory, under the supervision of Dr. Ton Duc Do. His current research interests include control of electric machine drives used in electric cars and wind energy conversion systems.

Saule Sagnaeva photograph and biography are not available at the time of publication.

Ton Duc Do (Senior Member, IEEE) received the B.S. and M.S. degrees in electrical engineering from the Hanoi University of Science and Technology, Hanoi, Vietnam, in 2007 and 2009, respectively, and the Ph.D. degree in electrical engineering from Dongguk University, Seoul, South Korea, in 2014. From 2008 to 2009, he worked at the Division of Electrical Engineering, Thuy Loi University, Vietnam, as a Lecturer. He was at the Division of Electronics and Electrical Engineering, Dongguk Univer- sity, as a Postdoctoral Researcher, in 2014. He was also a Senior Researcher at the Pioneer Research Center for Controlling Dementia by Converging Technology, Gyeongsang National University, South Korea, from May 2014 to August 2015. Since September 2015, he has been an Assistant Professor and then Associate Professor with the Department of Robotics and Mechatronics, Nazarbayev University, Kaza- khstan. His research interests include the field of advanced control system theories, electric machine drives, renewable energy conversion systems, uninterruptible power supplies, electromagnetic actuator systems, targeted drug delivery systems, and nanorobots. He has been an Associate Editor of IEEE ACCESS since April 2017. He has been aslo a Guest Editor for special issues of several journals such as Mathematical Problems in Engineering, Electronics, Sensors. He received the Best Research Award from Dongguk University in 2014, Most Cited Paper Award from Wind Energy in 2020–2021, and Outstanding Associate Editor of IEEE ACCESS in 2021. He was recently listed in the most influenced scientists with both single year and career-wide tables based on a systematic bibliometric study by researchers from Stanford University, published on November 3, 2022.

Altynay Kashaganova received the B.S. degree in engi- neering and technology from Department of Radio Engineering, Electronics and Telecommunications, Fac- ulty of Physics and Technology, L.N. Gumilyov Eurasian National University, Astana, Kazakhstan, in 2014, where she received the M.S. degree of technical sciences from Department of Nanomaterials and Nanotechnologies, Faculty of Physics and Technology, in 2016, and the Ph.

D. candidate degree with the Department of System Analysis and Control, Faculty of Information Technol- ogy. Her current research interests include control of electric machine drives used in wind energy conversion systems.